## Slide 1: Data analisys and gas R134a consumption forecast
Liceo Fermi – Bologna
Giuseppe Bentivenga, Matteo Bonazzi

## Slide 2
Liceo Scientifico E. Fermi-Bologna
Tank weighting system
Telescopio muonico del Fermi

## Slide 3
Supplier data sheet

## Slide 5: Daily consumption measurament
A mixer is set to give 25% of its maximum capacity,98 mL/min (=24.5 mL/min)
Transforming in L/dd
Gas density

## Slide 6: Daily consumption measurament
Theoretical daily consumption

## Slide 7: Daily consumption measurament
Using the Excel data analisys we were able to obtain the experimental values, with their errors, of the daily gas consumption.
2017/2018
2018/2019

## Slide 8
R134a
Gas mixer
Rigid pipe
Weighing system
The tank is on a scale, and periodically mass data are reported.

## Slide 9: School year 2017/2018
day (dd/mm/yy) | Progressive day | mass (kg)
17/10/2017 | 0 | 50,0
18/10/2017 | 1 | 50,0
31/10/2017 | 14 | 49,0
08/11/2017 | 22 | 48,5
10/11/2017 | 24 | 48,0
17/11/2017 | 31 | 47,0
06/12/2017 | 50 | 44,0
03/01/2018 | 78 | 39,5
10/01/2018 | 85 | 38,0
16/01/2018 | 91 | 37,0
20/01/2018 | 95 | 36,5
29/01/2018 | 104 | 35,0
Chart: Relation between mass and time
| 0 | 1 | 14 | 22 | 24 | 31 | 50 | 78 | 85 | 91 | 95 | 104
Relation between mass and time | 50 | 50 | 49 | 48.5 | 48 | 47 | 44 | 39.5 | 38 | 37 | 36.5 | 35

## Slide 10: Expected first tank duration
First mass measurament
Total mass= initial gas mass+ empty gas tank mass
Data provided by the supplier
Trend line equation

## Slide 11: Expected first tank duration
Time between the start of the consumption and the first
measure.
Time necessary to exhaust the gas, since the start of the measurament
Expected tank duration

## Slide 12: School year 2018/2019
Day (gg/mm/yy) | Progressive day | Total mass
01/12/2018 | 0 | 57,5
03/12/2018 | 2 | 57,5
04/12/2018 | 3 | 57,0
10/12/2018 | 9 | 56,5
11/12/2018 | 10 | 56,0
13/12/2018 | 12 | 56,0
14/12/2018 | 13 | 56,0
17/12/2018 | 16 | 55,5
18/12/2018 | 17 | 55,0
20/12/2018 | 19 | 52,0
22/12/2018 | 21 | 52,0
27/12/2018 | 26 | 51,5
07/01/2019 | 37 | 50,0
14/01/2019 | 44 | 49,0
15/01/2019 | 45 | 49,0
19/01/2019 | 49 | 49,0
21/01/2019 | 51 | 49,0
22/01/2019 | 52 | 48,5
24/01/2019 | 54 | 48,0
25/01/2019 | 55 | 48,0
28/01/2019 | 58 | 47,0
30/01/2019 | 60 | 47,0
31/01/2019 | 61 | 47,0
01/02/2019 | 62 | 47,0
02/02/2019 | 63 | 47,0
05/02/2019 | 66 | 46,0
09/02/2019 | 70 | 46,0
11/02/2019 | 72 | 46,0
12/02/2019 | 73 | 46,0
13/02/2019 | 74 | 45,0
14/02/2019 | 75 | 45,0
15/02/2019 | 76 | 45,0
16/02/2019 | 77 | 45,0
17/02/2019 | 78 | 45,0
18/02/2019 | 79 | 44,5
19/02/2019 | 80 | 44,5
21/02/2019 | 82 | 44,5
Chart: Relation between mass and time
| 0 | 2 | 3 | 9 | 10 | 12 | 13 | 16 | 17 | 19 | 21 | 26 | 37 | 44 | 45 | 49 | 51 | 52 | 54 | 55 | 58 | 60 | 61 | 62 | 63 | 66 | 70 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 82
 | 57.5 | 57.5 | 57 | 56.5 | 56 | 56 | 56 | 55.5 | 55 | 52 | 52 | 51.5 | 50 | 49 | 49 | 49 | 49 | 48.5 | 48 | 48 | 47 | 47 | 47 | 47 | 47 | 46 | 46 | 46 | 46 | 45 | 45 | 45 | 45 | 45 | 44.5 | 44.5 | 44.5

## Slide 13: Expected second tank duration
First mass measurament
Total mass= initial gas mass+ empty gas tank mass
Trend line equation
Data provided by the supplier

## Slide 14: Expected second tank duration
Time between the start of the consumption and the first
measure.
Time necessary to exhaust the gas, since the start of the measurament
Expected tank duration

## Slide 15: Data comparison
The experimental data are compatible with each other and also with the theoretical data.
2017/18 – Theoretical:
2018/19 – Theoretical:
2017/18 – 2018/19:

## Slide 16: Observations
From the data it is possible to notice that mass consumption of the gas has a certain regularity.
Monitoring of gas consumption is important in order to check the correct operation of the telescope and to predict the end of the tank .

## Slide 17
R134a
R134a
Gas mixer
Rigid pipe
Gas mixer
Rigid pipe
Flexible pipe
Weighing system improvement
An improvement to the weighing system could be the replacement of the final part of the rigid pipe with a flexible one whose weight does not influence the measurement.

## Slide 18: Thank you !