## Slide 1
Preliminary results from the Eco-friendly gas
measurements campaign
M. P. Panetta * for the EEE Collaboration
INFN sezione di Lecce

## Slide 2
New Eco-friendly mixture measurements
Mixture based on HFO + He
COSENZA (High gas Flow)
PISA (Low gas Flow)
Mixture based on HFO + CO2
CERN
BOLOGNA
TOP ch.
MIDDLE ch
BOTTOM ch
4 Test Stations
We use 2 MRP Chambers for triggering the chamber under test
Trigger  Double Ch. coincidences

## Slide 3
Analysis method
Clusterization process
as an example for test
on MIDDLE Chamber 
”Good event” :
β → 0.8 < β < 1.18 (β = (T_Top – T_Bottom ) /Track Lenght )
fiducial area for the extrapolated Point in the tested chamber
→ 5 cm < Pos Y < 75 cm ∧ -60 cm < Pos X < 60 cm
θ → cos θ > 0.9 (θ < 51.6 ° )
“Efficiency Events” : Good events with a Cluster in the Middle Chamber + ( |P_{extrapolated} - P_{cluster}| < 10 cm)
Efficiency : -------------------------
TOP Chamber 1 Cluster
Middle Chamber
No constrains in the clusterization Process
BOTTOM Chamber 1 Cluster
# Efficiency Events
# Good events
Notes: (Middle cluster dimension < 50 cm ) other ch. 7cm and 5ns

## Slide 4
Analysis method
Clusterization process
as an example for test
on MIDDLE Chamber 
”Good event” :
β → 0.8 < β < 1.18 (β = (T_Top – T_Bottom ) /Track Length )
fiducial area for the extrapolated Point in the tested chamber
→ 5 cm < Pos Y < 75 cm ∧ -60 cm < Pos X < 60 cm
θ → cos θ > 0.9 (θ < 51.6 ° )
“Efficiency Events” : Good events with a Cluster in the Middle Chamber + ( |P_{extrapolated} - P_{cluster}| < 10 cm)
Efficiency : -------------------------
TOP Chamber 1 Cluster
Middle Chamber
No constrains in the clusterization Process
BOTTOM Chamber 1 Cluster
# Efficiency Events
# Good events
Notes: (Middle cluster dimension < 50 cm ) other ch. 7cm and 5ns

## Slide 5
Some Results : Mixture based on HFO + He
RENDE-01  High gas Flow
R134a + SF6 (standard mixture)  1.0 l/h
100% HFO  1.8 l/h
50% HFO + 50% He  .0 l/h
60% HFO + 40% He  .5 l/h
70% HFO + 30% He  .0 l/h

## Slide 6
PISA-01  Low gas Flow (Standard Flowmeter )
R134a  1.0 l/h
60% HFO + 40% He  .2 l/h
70% HFO + 30% He  .2 l/h
Some Results : Mixture based on HFO + He
(thanks to Dott. E. Bossini)
Efficiency for chambers filled with HFO + He gas mixtures 90%

## Slide 7
Some Results: Mixture based on HFO + CO2
250 µm gaps
CERN-01 
Efficiency for chambers filled with HFO + CO2 gas mixtures 90%

## Slide 8
Thanks for your attention
8

## Slide 9
….Spares
PosZ