## Slide 1: Performance of MRPC telescopes of the EEE Project
E. Bossini, C. Cicalò, D. De Gruttola,
I. Gnesi, M. Garbini, S. Grazzi, M.P. Panetta
EEE meeting
08/02/2017

## Slide 2
time resolution
spatial resolution
beta ditributions for all telescopes (ongoing, not shown here)
trending for HV and currents (ongoing, not shown here)
duty cycle by trending the rate (ongoing, not shown here)
writing (well advanced, not shown here)
Status
EEE meeting
2
time slewing correction
comparison between old and new analyzer
time slewing correction
comparison between old and new analyzer
08/02/2017
meeting 30 Nov 2016

## Slide 3
strategy for the time slewing correction
understand all contributions
EEE meeting
3
Time Over Threshold
08/02/2017

## Slide 4
TOT vs time to get time slewing corrections
next
EEE meeting
4
TOT
use the mean of distribution bin by bin (at the moment we use the mean of the profile)
clarify possible reflections (peaks in the TOT distribution)
apply time slewing correction and measure again the time resolution
apply correction on single signals (left and right) rather than to the mean of TOT in a chamber
08/02/2017

## Slide 5
TOT vs time to get time slewing corrections
next
EEE meeting
5
TOT
use the mean of distribution bin by bin (at the moment we use the mean of the profile)
clarify possible reflections (peaks in the TOT distribution)
apply time slewing correction and measure again the time resolution
apply correction on single signals (left and right) rather than to the mean of TOT in a chamber
08/02/2017

## Slide 6
TOT distributions (secondary peaks are visible  signal reflections)
EEE meeting
6
TOT
08/02/2017

## Slide 7
TOT distributions (secondary peaks are visible  signal reflections)
TOT vs strip show no dependence on the strip
is it correct to use the mean of TOTL and TOTR?
it should work, but taking reflections into account (NINO and electronic
chain) the correction should be done on single signals (left and right)
 check has been done (see next slides)
time slewing correction has been done by using:
EEE meeting
7
TOT
08/02/2017
meeting 30 Nov 2016
the mean of TOTL and TOTR
TOTL and TOTR for tL and tR respectively
the min value between TOTL and TOTR (in order not to assign a wrong TOT, due to reflections)

## Slide 8
mean TOT associated to hit time
EEE meeting
8
08/02/2017

## Slide 9
TORI-02-2016-01-21(3M events)
c2<5
signal
reflections
(entries out
of the diagonal)
EEE meeting
9
08/02/2017

## Slide 10
TORI-02-2016-01-21(3M events)
c2<5
EEE meeting
10
08/02/2017
signal
reflections

## Slide 11
2D histogram profile mean(RMS)
TORI-02-2016-01-21(3M events)
c2<5
EEE meeting
11
08/02/2017

## Slide 12
corrected time
corrected time
TORI-02-2016-01-21(3M events)
c2<5
EEE meeting
12
08/02/2017

## Slide 13
TORI-02-2016-01-21(3M events)
c2<5
EEE meeting
13
08/02/2017
t = 339 ps
t = 236 ps
bad correction!

## Slide 14
LECC-01-2016-11-19(2.5 M events)
c2<5
EEE meeting
14
08/02/2017

## Slide 15
LECC-01-2016-11-19(2.5 M events)
c2<5
EEE meeting
15
08/02/2017

## Slide 16
LECC-01-2016-11-19(2.5 M events)
c2<5
EEE meeting
16
08/02/2017

## Slide 17
LECC-01-2016-11-19(2.5 M events)
c2<5
EEE meeting
17
08/02/2017
corrected time
corrected time

## Slide 18
LECC-01-2016-11-19(2.5 M events)
c2<5
EEE meeting
18
08/02/2017
t = 413 ps
t = 216 ps
bad correction!

## Slide 19
EEE meeting
19
08/02/2017
TOTL and TOTR for tL and tR respectively

## Slide 20
TORI-02-2016-01-21(3M events)
c2<5
EEE meeting
20
08/02/2017
right

## Slide 21
TORI-02-2016-01-21(3M events)
c2<5
EEE meeting
21
08/02/2017
left

## Slide 22
TORI-02-2016-01-21(3M events)
c2<5
EEE meeting
22
08/02/2017
right
corrected time

## Slide 23
TORI-02-2016-01-21(3M events)
c2<5
EEE meeting
23
08/02/2017
left
corrected time

## Slide 24
TORI-02-2016-01-21(3M events)
c2<5
EEE meeting
24
08/02/2017
t = 429 ps
t = 216 ps
bad correction!

## Slide 25
EEE meeting
25
08/02/2017
min value between TOTL and TOTR

## Slide 26
EEE meeting
26
08/02/2017
TORI-02-2016-01-21(3M events)
c2<5

## Slide 27
TORI-02-2016-01-21(3M events)
c2<5
EEE meeting
27
08/02/2017
corrected time
corrected time

## Slide 28
TORI-02-2016-01-21(3M events)
c2<5
EEE meeting
28
08/02/2017
t = 239 ps
t = 236 ps
no bad correction here, but the resolution still does not improve after time slewing correction

## Slide 29
EEE meeting
29
08/02/2017
Summary
meeting in Rome in person
3 different approach to apply time slewing correction
no improvement on the time resolution (to be understood)
to be done:
select only events without reflections
select only vertical tracks crossing the telescope in the center
many things were understood
time slewing correction still not working
other items to be completed (including writing of the paper)
another meeting in person soon
the work should finish in the next weeks