## Slide 1: Preparation of the EEE telescope for Forbush decrease observation
Marco S. and Ivan G.

## Slide 2: CR rate measurements
Rate stability
  HV stability
  T and P corrections
Correction for barometric effect
6 days
2015, December 31th

## Slide 3
Barometric factor = -0.093 Hz/mbar
Barometric factor = -0.181 Hz/mbar
Forbush decrease

## Slide 4: CR rate measurements
Good for BF measurement

## Slide 5: HV-multeplicity correlation
Saturazione ADC

## Slide 6: Monitor of the Telescope parameters

## Slide 7: Gas components
Flux (cc/min)
Flux (cc/min)

## Slide 8: Chamber temperatures
Resolution 0.01 C

## Slide 9: Environmental conditions
Sensor to be installed
Sensor to be installed
Resolution 0.01mbar

## Slide 10: HV (1)
Very stable (<5V)
Stable (<20V)
Unstable (up to 400 V variation)
2017, March 8th

## Slide 11: HV (2)
2017, January 16th

## Slide 12: Currents