## Slide 1
DATA ANALYSIS AND MEASUREMENT OF THE EFFICIENCY OF THE LNLE-01 DETECTOR
Group 10: Coluccini Giorgia, Corvini Tommaso, Scano Riccardo, Zucca Michele.
Liceo Vittoria Colonna e IIS Primo Levi

## Slide 2: Hands-on 1
The first goal was to take the old data and to graph the efficiency trend of those values (Bottom Layer, Middle Layer and Top Layer).
Chart: Efficiency trend BOTTOM
| 15000 | 16000 | 17000 | 18000 | 19000 | 19500
Efficiency | 0.45 | 0.67 | 0.87 | 0.96 | 0.98 | 0.98

## Slide 3
Chart: Efficiency trend MIDDLE
| 16000 | 17000 | 18000 | 19000 | 19500
Efficiency | 0.78 | 0.92 | 0.96 | 0.97 | 0.97
Chart: Efficiency trend TOP
| 16000 | 17000 | 18000 | 19000 | 19500
Efficiency | 0.83 | 0.94 | 0.96 | 0.97 | 0.96

## Slide 4: Hands-on 2 part 1
The second goal was to calculate the efficiency value of the measurement we did in the lab.
To do this we collected data from the cosmic ray detector
The cosmic ray detector consists in three layers: Bottom, Middle and Top.
Each layer is made up of a capacitor with a positively and negatively charged anode and cathode.
Cosmic ray detector
Software that receives datas

## Slide 5: Hands-on 2 part 2
We calculated the efficiency through the formula
Detected particles: n. of particles detected by the middle layer.
Detectable particles: n. of particles detected by the top and bottom layers.
The efficiency of our data with an 19000 HV is of 92% and it’s high! The percentual of the error of the efficiency is 0,36%.

## Slide 7
Chart: 
| -0.9 | -0.8 | -0.70000000000000007 | -0.60000000000000009 | -0.50000000000000011 | -0.40000000000000013 | -0.30000000000000016 | -0.20000000000000015 | -0.10000000000000014 | 0 | 0.1 | 0.2 | 0.30000000000000004 | 0.4 | 0.5 | 0.6 | 0.7 | 0.79999999999999993 | 0.89999999999999991 | 0.99999999999999989 | 1.0999999999999999 | 1.2 | 1.3 | 1.4000000000000001 | 1.5000000000000002 | 1.6000000000000003 | 1.7000000000000004 | 1.8000000000000005 | 1.9000000000000006 | 2.0000000000000004 | 2.1000000000000005 | 2.2000000000000006 | 2.3000000000000007 | 2.4000000000000008 | 2.5000000000000009 | 2.600000000000001 | 2.7000000000000011 | 2.8000000000000012 | 2.9000000000000012 | 3.0000000000000013 | 3.1000000000000014
Frequenza | 4 | 3 | 3 | 2 | 6 | 5 | 8 | 14 | 19 | 13 | 12 | 37 | 55 | 67 | 104 | 152 | 195 | 198 | 260 | 357 | 432 | 545 | 480 | 383 | 376 | 282 | 263 | 202 | 181 | 165 | 116 | 98 | 80 | 82 | 56 | 51 | 39 | 55 | 40 | 33 | 40

## Slide 8
Chart: Efficiency
| 14630 | 15186 | 16199 | 17211 | 17717.575789999999 | 17970.684010000001 | 18225 | 18477 | 18748 | 19255.46 | 19509 | 19695 | 19903
Efficienza | 0.1257 | 0.3563 | 0.7664 | 0.8575 | 0.8872 | 0.8956 | 0.9545 | 0.826 | 0.91 | 0.92 | 0.97 | 0.923 | 0.9902
Group | HV correct (V) | Efficiency
1 | 14630 | 12,57%
2 | 15186 | 35,63%
3 | 16199 | 76,64%
4 | 17211 | 85,75%
5 | 17717,57579 | 88,72%
6 | 17970,68401 | 89,56%
7 | 18225 | 95,45%
8 | 18477 | 82,60%
9 | 18748 | 91%
10 | 19255,46 | 92%
11 | 19509 | 97%
12 | 19695 | 92,30%
13 | 19903 | 99,02%

## Slide 9: GRAZIE!