## Slide 1
News
Reconstruction with Analyzer v 2.0 going on
progresses at: https://www1.cnaf.infn.it/eee/monitor/42.html
(private page, not to be given to schools)
Alternanza Scuola Lavoro
Under examination at Centro Fermi managment, news asap
“Circolare” to the schools without telescopes
Describing how they can contribute to the EEE project
Spare chambers
news on transportation?

## Slide 2
News
Preparation of the telescopes for the Run-3
Chambers at 50 cm distance
Gas flux at 2 l/h
Triggering, noise and grounding
Measure of the angle wrt. North
News from CERN: one chamber broken
Often disconnected from the pipeline and left filled with the gas mixture
It seems that the C2H2F4 is the main “guilty” for any damage (beng lighter than SF6)
Lesson: never leave the chambers filled the our gas mixture; maybe we should provide Ar or N2 bottles ?

## Slide 3
News
News about Trigger/GPS cards
Under test at CERN
Let us build five of them for the new stations?
“Progetto premiale”
Still waiting for the call
Probable collaboration with CNR
WP1: open data (make avaialble 10% of the EEE data)
WP2: Distributed analyses for schools without stations
  Masterclasses and meetings
WP3: New didactic paths

## Slide 4
News
News about the cards for the clock distribution?
Proceedings for CRIS2016 ready and circulated
Need to prepare an official list of authors
Need to renew and make active the speaker’s beaureau
Need to review the mailing list system
Meeting in Bari
Prepare three master classes