## Slide 1: Trasportable Tracking telescope for Extreme Energy Events Project
M. Garbini, R. Nania, F. Noferini

## Slide 2
Basic design
Tests in Bologna & CREF
8+8 scintillator bars 60 cm x 5 cm x 1 cm
2+2 SiPM per bar (64 channels)
CAEN FERS5202 x bias/readout/logic
GPS and sensors as POLA-R
Mini PC (rpi) as POLA-R
UPS system as POLA-R
Based on the
experience of POLA-R

## Slide 3
4
3
1
2
A -30 cm
C +30 cm
TTT Test in Bologna
0 ns
100 ns
External trigger using scintillators and scope acquisition
Bias and FE custom
Credits R.Nania

## Slide 4
100
200
Time
ToT
ToT
Time
Ch1
Ch2
Ch3
Ch4
Results
Credits R.Nania

## Slide 5
2750 entries
Centre1000632ov
Time difference
Credits R.Nania

## Slide 6
Chart: Dt min vs posizione 5 ov
| -25.75 | 0 | 25.75
 | 3.52 | 0.074 | -3.59
V= 2/0,1394 = 14,48 cm/ns
External Trigger (trigger area > bar area)
Distribution of the number of over-threshold channels.
High efficiency.
Credits R.Nania
Position reconstruction & efficiency

## Slide 7
TTT-EEE test Feb 2026
Credits R.Nania

## Slide 8
TTT-EEE test Feb 2026
4 file - start 16_50 circa stop 17:00 circa
N ev 1 , 984, 1000 , 986 = tot 2971 eventi
Voltage 32 V th 50 mV rate 20 Hz
53 cm circa
78 cm circa
MRPC
Posizione negativo
Dati acquisiti con osciloscopio + con trigger esterno per EEE inserito sul piano 2
Programmi analisi basati su quanto gia fatto per ALICE3 TOF (Bianca).
Credits R.Nania

## Slide 9
100
200
Time
ToT
ToT
Time
Ch1
Ch2
Ch3
Ch4
Credits R.Nania
Scope Data

## Slide 10
Dtime from average 12 and 34
Dtime from min 12 and min 34
Position reconstruction (cm)
Position reconstruction (cm)

## Slide 11
Room for improvement in position reconstruction using Δt and ΔToT
Credits R.Nania
Corrections can help

## Slide 12
Credits F. Noferini
EEE data
Used the trigger sequence to align the events
XEEE comes from standard EEE reconstruction
XSiPMs = (t_{1} + t_{2} - t_{3} - t_{4}) * v_{drift} / 4
Shift in event index → possibly due to incorrectly generated double triggers → to be checked in the coming weeks.

## Slide 13
Credits R. Nania& F. Noferini
EEE/scope data
Rarely, after the main trigger (50 ns wide), we observe some re-scattering within 300 ns, especially for large signals (~5 V from the SiPM).
Cases where the coincidence module outputs 13 ns signals (it should be fixed at 50 ns), but the reason is still unclear.

## Slide 14
@CREF
Setup
F-Up
7 cm
Left Side
Rigth
FERS
Ch 1
Ch 2
Ch 3
Ch 4
Up & Down->scintillator fingers ~5x2.5 cm
HV up =725 V
HV down 725 V
NIM
PwS ch 0 up
PwS ch 1 down
Up->ch0 L.E.D (Thr 70 mV)
Down->ch4 L.E.D (Thr 70 mV)
Ch 0 (5ns) AND Ch4 (5 ns)
16 ns ->scope
16 ns->T0IN FERS
Scope
PC-FERS power & readout via Januspy

## Slide 15
Credits R. Nania& F. Noferini
Reality
FERS BIAS (PC controlled)
Scope
NIM (PMT Bias & Logic)

## Slide 16
Bias 29 V
Bias 30 V
Bias 31 V
Bias 32 V
First Kiss with FERS & Janus
Using DC

## Slide 17
Bias (V) | Run Nb | N. ev | Trigger Logic | Period trigg.
29 | 170 | 50000 | Internal Pulser | 1 ms
30 | 171 | 50000 | Internal Pulser | 1 ms
31 | 172 | 50000 | Internal Pulser | 1 ms
32 | 173 | 50000 | Internal Pulser | 1 ms
Spectroscopy Mode: This mode (also indicated as Pulse Height Analysis, PHA) works with a global (bunch) trigger, either coming from an external source or generated by a combination of the channelself‐triggers. As soon as a trigger is issued, all channels start simultaneously the A/D conversion ofthe pulse amplitude and create a data packet containing the common trigger time stamp followed by the individual energies. The packet is saved into the local memory buffer of the FERS‐5200 unit,waiting for the readout, while a new cycle can start. In Spectroscopy Mode, the A/D conversioncauses a systematic dead time and limits the maximum trigger rate. In particular, the dead time dueto conversion with Citiroc‐1A is about 10 μs.
We use the Internal pulsed (1 ms period) as bunch trigger and look to the high gain spectra. Basically we are looking to the noise and it looks like we get the noise photopeaks.
Would be nice to check with external LED pulses.
Needs to be checkrd but 31 V looks like a comfortable bias
Spectroscopy mode

## Slide 18
Timing Mode

## Slide 19
Preliminary
Only events with 4 channels

## Slide 20
Preliminary

## Slide 21
Summary
Preliminary design defined
Test ongoing in Bologna & Roma: encouraging results
Use of CAEN FERS under study (waiting for new module 50 ps time resolution)
Need for some custom board to integrate FERS and GPS/sensors
Need for Manpower

## Slide 22
EXTRA

## Slide 23
Chart: 25 Maggio2026 – th 50 mV
| 29.5 | 30 | 30.2 | 30.5 | 31 | 31.5 | 32
AND4 | 401 | 532 | 728 | 914 | 1058 | 1449 | 1819
AND>=3 | 503 | 743 | 861 | 1057 | 1486 | 1792 | 3488
Rate 100sec
Chart: 25 Maggio
| 50 | 75 | 100 | 125
AND4 | 1150 | 544 | 460 | 357
AND>=3 | 1420 | 907 | 563 | 531
Voltage (V)
Th ( mV)
Rate 100sec