## Slide 1: A new Trigger/GPS Unit for the EEE Project
A. Corvaglia
M. Panareo
M.P. Panetta
(M. Rizzi)

## Slide 2
Abstract
Introduction – the EEE Project
The EEE Data Acquisition A brief description of the old System
EEE Trigger/Gps System
  Trigger System
  GPS Interface
  Event Time Stamp
Time Stamp jitter
Conclusions
A new Trigger/GPS Unit for the EEE Project

## Slide 3
Abstract
Introduction – the EEE Project
The EEE Data Acquisition
  A brief introduction of the old System
EEE Trigger/Gps System
  MRPC Trigger System
  GPS Interface
  Event Time Stamp
Time Stamp jitter
Conclusions
A new Trigger/GPS Unit for the EEE Project
TL
ML
BL
BR
MR
TR
Left
Right
TRIPLE
OR 24 strips
OR 24 strips

## Slide 4
Abstract
Introduction – the EEE Project
The EEE Data Acquisition
  A brief introduction of the old system
EEE Trigger/Gps System
  MRPC Trigger System
  GPS Interface
  Event Time Stamp
Time Stamp jitter
Conclusions
A new Trigger/GPS Unit for the EEE Project

## Slide 5
Abstract
Introduction – the EEE Project
The EEE Data Acquisition
  A brief introduction of the old System
EEE Trigger/Gps System
  Trigger System
  GPS Interface
  Event Time Stamp
Time Stamp jitter
Conclusions
A new Trigger/GPS Unit for the EEE Project

## Slide 6
Introduction – the EEE Project
The EEE Data Acquisition
  A brief introduction of the system ??
EEE Trigger/Gps System
  Trigger System
  GPS Interface
  Event Time Stamp
Time Stamp jitter
Conclusions
A new Trigger/GPS Unit for the EEE Project
Abstract

## Slide 7
Introduction – the EEE Project
The EEE Data Acquisition
  A brief introduction of the old System
EEE Trigger/Gps System
  Trigger System
  GPS Interface
  Event Time Stamp
Time Stamp jitter Δt measurements beetwen 2 different boards (same VME Crate, same length cable) with the aim of evaluate the PPS resolution σPPS ( 30 ns). The global Time Stamping resolution should be the sum of the TDC resolutions σTDC and of PPS resolution σPPS
Conclusions
A new Trigger/GPS Unit for the EEE Project
Δt = tPPS1 – tPPS2
entries
Trigger/Gps Board 2
Trigger/Gps Board 1
σPPS
˜
PPS resolution
Abstract

## Slide 8
Time Stamp jitter
5 Trigger/GPS Boards in the Electronic Lab. at Lecce
The bracket was mounted, we should mount the other GPS antenna
4 Boards already tested
Minor fixing need
15 Boards in Lab. next week
A new Trigger/GPS Unit for the EEE Project
Δt = tPPS1 – tPPS2
entries
Trigger/Gps Board 1
Trigger/Gps Board 2
σPPS

## Slide 11: EEE Trigger/GPS Test
Logic Analyzer
Pattern Generator
Waveform Generator
Oscilloscope

## Slide 12: 2 Clear signals TDCs
By means of a Waveform Generator we simulate the TTL Signals from the Bridge VME 40 μs lenght
Two ECL Signals of 25 ns length to the CLEAR TDCs

## Slide 13: 2 Clock Signals
2 Disciplinated Clock to the TDCs 40 MHz (25 ns period)

## Slide 14: TDC Trigger signals
By means of the Pattern Generator we simulated 6 Trigger LVDS signals from the MRP Chambers and send it to the Trigger Board which generate 1 Triple coincidence and 3 Double coincidences
6 LVDS signals from MRPCs

## Slide 15: TDC Trigger signals
Logic Analyzer read
LVDS signals from the Pattern Generator
ECL from the EEE-Trigger/GPS Board
and

## Slide 16: 2 PPS for the DAQ GPS Trigger
Each PPS from the GPS receiver on board, the Unit generate 2 signals ECL to the TDCs (and 2 signals NIM for retro-compatibility) of 1 μs length after an interval of 0.5 μs

## Slide 17: CRST signals
CRST signal to the TDC performances the TDC Bunch RESET each PPS, 1,5 μs after the PPS signals