## Slide 1: A new Trigger/GPS Unit for the EEE Project
A. Corvaglia
M. Panareo
M.P. Panetta
(M. Rizzi)

## Slide 2
Introduction – the EEE Project
The EEE Data Acquisition
  A brief introduction of the old System
EEE Trigger/Gps System
  Trigger System
  GPS Interface
  Event Time Stamp
Time Stamp jitter Δt measurements beetwen 2 different boards (same VME Crate, same length cable) with the aim of evaluate the PPS resolution σPPS ( 30 ns). The global Time Stamping resolution should be the sum of the TDC resolutions σTDC (100 ps TDC resolution) and of PPS resolution σPPS
Conclusions
A new Trigger/GPS Unit for the EEE Project
Δt = tPPS1 – tPPS2
entries
Trigger/Gps Board 2
Trigger/Gps Board 1
σPPS
˜
PPS resolution
Abstract

## Slide 3
Time Stamp jitter
20 Trigger/GPS Boards in the Electronic Lab. at Lecce
The bracket was mounted, the other GPS antenna was mounted
20 Boards already tested
5 under test
A new Trigger/GPS Unit for the EEE Project
Δt = tPPS1 – tPPS2
entries
Trigger/Gps Board 1
Trigger/Gps Board 2
σPPS

## Slide 4
Δ1PPS(mean) = 21,3 ns
T = 90000 s
ΔPPS = tPPS1 – tPPS2
Time Stamp jitter
σ1PPS(mean) = 4,79 ns
Boards N. 5 - N.4
Length difference between the Antenna cables = 2,7 m
~ 13 ns

## Slide 5
Δ1PPS(mean) = 21,3 ns
T = 90000 s
ΔPPS = tPPS1 – tPPS2
Time Stamp jitter
σ1PPS(mean) = 4,79 ns
Boards N. 5 - N.4
Bin width =300 s
Drift of ΔPPS during 1 day

## Slide 6
Bin =300 s
ΔPPS = tPPS1 – tPPS2
Δ1PPS(mean) = 17,4 ns ;
T ~ 24000 s
ΔPPS = tPPS1 – tPPS2
Time Stamp jitter
σ1PPS(mean) = 6,06 ns ;
Boards N. 5 - N.2
Drift of ΔPPS during 7 h
Length difference between the Antenna cables = 2,7 m (~ 13 ns )

## Slide 7
Bin =300 s
ΔPPS = tPPS1 – tPPS2
Δ1PPS(mean) = 16,8 ns
T ~ 54000 s
ΔPPS = tPPS1 – tPPS2
Time Stamp jitter
σ1PPS(mean) = 4,48 ns
Boards N. 4 - N.2
Drift of ΔPPS during 15 h
Length difference between the two Antenna cables = 2,7 m (~ 13 ns )

## Slide 8
σΔ1PPS distribution
ΔPPS_MEAN
3,5 4,5 5,5 ns
entries
Measurements of 8 couples
10 20 30 ns
Length difference between the two Antenna cables = 2,7 m (~ 13 ns )
ΔPPS = tPPS1 – tPPS2
Time Stamp jitter
σ Δ 1PPS

## Slide 10
To be check…