## Slide 1: Power and UPS
Scenario 1
Scenario 2
220 V AC to 12 V with UPS
Battery 12 V
24 V DC to 12 V with UPS
Battery 12 V
24 V DC to 12 V with UPS
Battery 12 V
24 V DC to 12 V with UPS
Battery 12 V
220 AC to 24 V DC
school
boat
school
boat
~ 200 Euro
~ 330 Euro
~ 350 Euro
~ 330 Euro
PRO:
Cheaper
Simpler
CONS:
- Two different control systems
PRO:
More Homogeneous
One control system for both
CONS:
One more device = point-of-failure
More expensive
Note: all are CERN discounted special prices

## Slide 2: Power supplies with integrated UPS control
220 AC – DC 12V
RS Italia (cod. 2866598) 288 Euro
Farnell CERN discount: 180 Euro
DCDC 24V – 12V
RS Italia (cod. UB10.245) 317 E
RS CERN discount: 222 Euro
Can use the same external 12 V battery model
Similar control signals (to be verified)
(Ombretta@CERN
Received 14/3/2018)
(Marco@BO ordered RS)

## Slide 3: Batteries
Pb battery, light, 12V 0.8 A
14 Euros
Farnell code 2145726
Bologna?
(Ombretta@CERN
Received 14/3/2018)

## Slide 4: Testing AC-DC UPS at CERN
AC power OK
Monitoring with 3 signals 12V (corresponding to LED alarms)
We need circuitry (voltage dividers?) to reduce 12 V and read it with Raspberry Pi (to GPIO pins, 1.2V to max 3.3V)
Battery failure
AC power failure (working on battery)
0V,0V,0V
12V,0V,0V
0V,12V,0V