## Slide 1
Update on muon velocity analysis: a comparison for different telescopes
Sandro Torrisi
I.I.S.- I.T. Guglielmo Marconi, Catania

## Slide 2
Chart: CATA-02
| 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56
 | 0 | 523 | 2743 | 8196 | 19778 | 29980 | 30239 | 23780 | 17346 | 11580 | 6962 | 2989 | 1220 | 428 | 136 | 37 | 9 | 9 | 2 | 1 | 1 | 0
<V> = 25.5 cm/ns
Chart: CAGL-01
| 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | Altro
CAGL-01 istov 3-7tof | 0 | 98 | 458 | 1266 | 3491 | 16543 | 47513 | 73522 | 72332 | 52224 | 29499 | 8911 | 1545 | 194 | 21 | 5 | 2 | 1 | 0 | 0
<V> = 28.4 cm/ns
CATA-02 vs CAGL-01
cm/ns
cm/ns
σ(v) = 3.1 cm/ns
σ(v) = 4.2 cm/ns
Conclusions previous analysis presented in the last EEE run coordination meeting
Mean muon velocity of about 26  4 cm/ns in CATA-02 data, indipendent from analyzed period, while CAGL-01 data show a mean velocity of 28  3 cm/ns
The width of the velocity distribution is strongly related to the width of the time of flight distribution
Track lenght-time of flight scatterplots show small correlation
Mean velocity is rather indipendent from track lenght while seems to depend from time of flight

## Slide 3
Outline
CERN-01 telescope:
Time of flight, track lenght and velocity distributions
Muon velocity distributions for different time of flight and track lenght bins
Mean muon velocity vs time of flight and track lenght
Time of flight – track lenght scatterplot
Time of flight and velocity distributions with track verticality and azimuthal angle conditions
Comparison of distributions for different telescopes: CERN-01, BOLO-02, TORI-03, TRAP-01, TREV-01, CATA-02, CAGL-01
Conclusions

## Slide 4
Chart: Time of flight
| 2 | 2.1 | 2.2000000000000002 | 2.2999999999999998 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 3 | 3.1 | 3.2 | 3.3 | 3.4 | 3.5 | 3.6 | 3.7 | 3.8 | 3.9 | 4 | 4.0999999999999996 | 4.2 | 4.3 | 4.4000000000000004 | 4.5 | 4.5999999999999996 | 4.7 | 4.8 | 4.9000000000000004 | 5 | 5.0999999999999996 | 5.2 | 5.3 | 5.4 | 5.5 | 5.6 | 5.7 | 5.8 | 5.9 | 6 | 6.1 | 6.2 | 6.3 | 6.4 | 6.5 | 6.6 | 6.7 | 6.8 | 6.9 | 7
2<=tof<=7 | 412 | 118 | 299 | 817 | 1582 | 3725 | 4636 | 9989 | 16657 | 21997 | 30550 | 24206 | 34185 | 36505 | 31763 | 31169 | 19029 | 21420 | 18735 | 14372 | 12715 | 7404 | 7997 | 6782 | 5068 | 4400 | 2533 | 2710 | 2378 | 1775 | 1591 | 958 | 1048 | 879 | 717 | 645 | 386 | 437 | 343 | 292 | 283 | 200 | 180 | 182 | 173 | 148 | 95 | 132 | 114 | 130 | 122
cm

## Slide 5
Chart: Muon velocity distribution
CERN-01 18/4/2018 tof>0 ChiSquare <10 RunNumber <10

## Slide 6
Chart: muon velocity distribution
CERN-01 18/4/2018 tof>0 ChiSquare <10 RunNumber <10
cm/ns
Cut: 10<v(cm/ns)<50
vm=29.1 cm/ns
σ~2.9 cm/ns

## Slide 7
Chart: cm/ns
| 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 58 | 60 | 62 | 64 | 66
2<tof<2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 709 | 1116 | 613 | 252 | 78 | 31 | 7 | 2 | 1 | 1 | 2 | 1 | 1 | 2 | 0
2.4<tof<2.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1825 | 15269 | 11976 | 4834 | 930 | 139 | 22 | 3 | 4 | 1 | 1 | 2 | 1 | 0 | 0 | 0 | 0 | 0
2.8<tof<3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1617 | 36039 | 48944 | 19167 | 4382 | 705 | 70 | 10 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.2<tof<3.6 | 0 | 0 | 0 | 0 | 0 | 0 | 7392 | 43654 | 42985 | 18694 | 4959 | 705 | 72 | 3 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3.6<tof<4.0 | 0 | 0 | 0 | 0 | 0 | 3973 | 17281 | 23026 | 16157 | 5707 | 970 | 123 | 4 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.0<tof<4.4 | 0 | 0 | 0 | 0 | 1386 | 3709 | 6802 | 8413 | 5138 | 1561 | 231 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4.4<tof<4.8 | 0 | 0 | 0 | 537 | 1159 | 1398 | 2627 | 3500 | 2205 | 542 | 53 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5.2<tof<5.6 | 0 | 10 | 476 | 340 | 201 | 180 | 407 | 673 | 306 | 33 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Muon velocity distribution for Dtof bins

## Slide 8
Chart: Muon velocity distribution for DTL bins
| 0 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20 | 22 | 24 | 26 | 28 | 30 | 32 | 34 | 36 | 38 | 40 | 42 | 44 | 46 | 48 | 50 | 52 | 54 | 56 | 58 | 60
88.0<TL<92 | 0 | 21 | 28 | 43 | 43 | 75 | 167 | 281 | 356 | 443 | 628 | 1238 | 3451 | 11063 | 24921 | 33376 | 26508 | 15299 | 6663 | 2617 | 937 | 347 | 138 | 76 | 31 | 22 | 15 | 10 | 7 | 9 | 8
92<TL<96 | 0 | 8 | 19 | 20 | 28 | 52 | 110 | 191 | 208 | 258 | 384 | 718 | 2206 | 7400 | 16452 | 20818 | 16232 | 8908 | 4173 | 1578 | 536 | 196 | 54 | 33 | 21 | 11 | 8 | 5 | 3 | 1 | 3
96.0<TL<100.0 | 0 | 7 | 8 | 17 | 17 | 31 | 88 | 121 | 152 | 185 | 313 | 489 | 1483 | 5298 | 11687 | 14639 | 11383 | 5924 | 2497 | 932 | 319 | 116 | 50 | 11 | 10 | 7 | 5 | 2 | 2 | 0 | 2
100.0<TL<104.0 | 0 | 4 | 8 | 8 | 13 | 25 | 49 | 80 | 110 | 125 | 162 | 302 | 962 | 3745 | 8625 | 10481 | 7606 | 3719 | 1530 | 528 | 138 | 44 | 12 | 7 | 7 | 1 | 4 | 2 | 2 | 4 | 1
104.0<TL<108 | 0 | 3 | 5 | 10 | 7 | 10 | 34 | 57 | 64 | 93 | 107 | 195 | 670 | 2645 | 5877 | 7186 | 5103 | 2494 | 978 | 335 | 103 | 32 | 14 | 3 | 6 | 2 | 1 | 1 | 2 | 0 | 1
108.0<TL<112.0 | 0 | 1 | 1 | 5 | 7 | 6 | 23 | 45 | 65 | 59 | 63 | 130 | 400 | 1772 | 4415 | 5075 | 3496 | 1668 | 629 | 161 | 52 | 11 | 2 | 3 | 3 | 1 | 0 | 0 | 0 | 0 | 0
112.0<TL<116.0 | 0 | 2 | 0 | 4 | 1 | 10 | 18 | 32 | 34 | 39 | 45 | 91 | 280 | 1248 | 2981 | 3480 | 2316 | 1068 | 329 | 84 | 22 | 11 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 1 | 0
116.0<TL<120.0 | 0 | 0 | 0 | 3 | 3 | 1 | 9 | 17 | 22 | 19 | 27 | 51 | 182 | 798 | 2169 | 2460 | 1484 | 592 | 163 | 44 | 3 | 2 | 3 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0
120.0<TL<124.0 | 0 | 0 | 2 | 2 | 2 | 6 | 5 | 12 | 10 | 8 | 19 | 36 | 97 | 533 | 1548 | 1759 | 1085 | 339 | 98 | 22 | 6 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 9
Chart: Time of flight vs track lenght

## Slide 10
Chart: muon velocity distribution
| 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
88.0<TL<88.1 | 7 | 3 | 0 | 5 | 1 | 3 | 11 | 6 | 5 | 9 | 10 | 17 | 25 | 42 | 75 | 122 | 217 | 313 | 638 | 540 | 653 | 592 | 244 | 396 | 244 | 98 | 127 | 34 | 26 | 16 | 12 | 16 | 5 | 3 | 0 | 1 | 3 | 1 | 2 | 1 | 0
Verticality condition: 88.0 < TL (cm) < 88.1

## Slide 11
Chart: muon velocity distribution
| 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50
18°<theta<19° | 7 | 6 | 3 | 4 | 2 | 1 | 6 | 5 | 7 | 8 | 16 | 15 | 18 | 40 | 63 | 84 | 201 | 262 | 441 | 432 | 459 | 407 | 205 | 287 | 188 | 77 | 79 | 29 | 23 | 12 | 13 | 9 | 3 | 0 | 1 | 1 | 1 | 0 | 0 | 1 | 0
Azimutal Angle Condition: 18° < q < 19°
Chart: time of flight distribution
| 1 | 1.1000000000000001 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 2 | 2.1 | 2.2000000000000002 | 2.2999999999999998 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 2.9 | 3 | 3.1 | 3.2 | 3.3 | 3.4 | 3.5 | 3.6 | 3.7 | 3.8 | 3.9 | 4 | 4.0999999999999996 | 4.2 | 4.3 | 4.4000000000000004 | 4.5 | 4.5999999999999996 | 4.7 | 4.8 | 4.9000000000000004 | 5
18°<theta<19° | 4 | 0 | 1 | 0 | 1 | 1 | 1 | 0 | 1 | 1 | 6 | 6 | 8 | 26 | 58 | 163 | 205 | 451 | 741 | 1054 | 1462 | 1117 | 1577 | 1697 | 1230 | 1092 | 588 | 529 | 360 | 197 | 153 | 66 | 66 | 41 | 21 | 18 | 8 | 19 | 12 | 9 | 13
ns

## Slide 12
Chart: TL (cm)
Chart: TL (cm)
Chart: TL (cm)
Chart: TL (cm)
Chart: TL (cm)
Time of flight
vs
Track Lenght scatterplot
CERN-01
BOLO-02
TORI-03
TRAP-01
TREV-01
VBf= 28,6 cm/ns
VBf= 28,4 cm/ns
VBf= 28,1 cm/ns
VBf= 27,9 cm/ns
VBf= 26,5 cm/ns

## Slide 13
Chart: cm
| 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100 | 102 | 104 | 106 | 108 | 110 | 112 | 114 | 116 | 118 | 120 | 122 | 124 | 126 | 128 | 130 | 132 | 134 | 136 | 138 | 140 | 142 | 144 | 146 | 148 | 150 | 152 | 154 | 156 | 158 | 160 | 162 | 164 | 166 | 168 | 170 | 172 | 174 | 176 | 178 | 180 | 182 | 184 | 186 | 188 | 190
CERN-01 | 0 | 0 | 0 | 0 | 6 | 71578 | 57298 | 44561 | 36115 | 30872 | 24937 | 20956 | 17355 | 14136 | 11916 | 9986 | 8117 | 6711 | 5395 | 4410 | 3645 | 3048 | 2549 | 2089 | 1836 | 1514 | 1234 | 1096 | 954 | 810 | 627 | 569 | 486 | 416 | 340 | 313 | 214 | 190 | 168 | 118 | 109 | 86 | 57 | 59 | 42 | 21 | 11 | 7 | 4 | 2 | 1 | 3 | 0 | 0 | 0 | 0
Chart: cm
| 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100 | 102 | 104 | 106 | 108 | 110 | 112 | 114 | 116 | 118 | 120 | 122 | 124 | 126 | 128 | 130 | 132 | 134 | 136 | 138 | 140 | 142 | 144 | 146 | 148 | 150 | 152 | 154 | 156 | 158 | 160 | 162 | 164 | 166 | 168 | 170 | 172 | 174 | 176 | 178 | 180 | 182 | 184 | 186 | 188 | 190
BOLO-02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 69741 | 51236 | 42187 | 35119 | 28622 | 23925 | 20175 | 16823 | 13749 | 11613 | 9330 | 7855 | 6277 | 5203 | 4241 | 3560 | 2902 | 2490 | 2164 | 1769 | 1525 | 1219 | 1070 | 918 | 757 | 665 | 511 | 463 | 384 | 305 | 258 | 220 | 167 | 143 | 106 | 66 | 56 | 31 | 20 | 14 | 4 | 3 | 1 | 0 | 0
Chart: cm
| 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100 | 102 | 104 | 106 | 108 | 110 | 112 | 114 | 116 | 118 | 120 | 122 | 124 | 126 | 128 | 130 | 132 | 134 | 136 | 138 | 140 | 142 | 144 | 146 | 148 | 150 | 152 | 154 | 156 | 158 | 160 | 162 | 164 | 166 | 168 | 170 | 172 | 174 | 176 | 178 | 180 | 182 | 184 | 186 | 188 | 190
TORI-03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 72266 | 54286 | 43354 | 35377 | 27979 | 22626 | 18726 | 15245 | 12305 | 10032 | 8156 | 6722 | 5407 | 4213 | 3557 | 2957 | 2466 | 1898 | 1633 | 1453 | 1190 | 973 | 838 | 730 | 577 | 495 | 433 | 384 | 271 | 258 | 195 | 182 | 142 | 117 | 66 | 58 | 42 | 19 | 18 | 5 | 4 | 1 | 1 | 0 | 0
Chart: cm
| 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100 | 102 | 104 | 106 | 108 | 110 | 112 | 114 | 116 | 118 | 120 | 122 | 124 | 126 | 128 | 130 | 132 | 134 | 136 | 138 | 140 | 142 | 144 | 146 | 148 | 150 | 152 | 154 | 156 | 158 | 160 | 162 | 164 | 166 | 168 | 170 | 172 | 174 | 176 | 178 | 180 | 182 | 184 | 186 | 188 | 190
TRAP-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 61001 | 46636 | 37295 | 31156 | 25231 | 21203 | 17580 | 14898 | 12255 | 9987 | 8102 | 6718 | 5502 | 4581 | 3924 | 3246 | 2704 | 2337 | 1835 | 1657 | 1360 | 1146 | 1071 | 826 | 706 | 573 | 492 | 441 | 323 | 280 | 237 | 160 | 128 | 101 | 68 | 40 | 26 | 12 | 7 | 1
Chart: cm
| 80 | 82 | 84 | 86 | 88 | 90 | 92 | 94 | 96 | 98 | 100 | 102 | 104 | 106 | 108 | 110 | 112 | 114 | 116 | 118 | 120 | 122 | 124 | 126 | 128 | 130 | 132 | 134 | 136 | 138 | 140 | 142 | 144 | 146 | 148 | 150 | 152 | 154 | 156 | 158 | 160 | 162 | 164 | 166 | 168 | 170 | 172 | 174 | 176 | 178 | 180 | 182 | 184 | 186 | 188 | 190
TREV-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 65894 | 49814 | 41404 | 34712 | 29140 | 23945 | 20844 | 17455 | 14822 | 12941 | 10427 | 8754 | 7434 | 5940 | 4873 | 4215 | 3639 | 3102 | 2646 | 2274 | 2018 | 1749 | 1490 | 1312 | 1103 | 1009 | 849 | 690 | 603 | 495 | 432 | 327 | 280 | 222 | 201 | 153 | 120 | 92 | 53 | 34 | 16 | 9 | 3 | 0 | 0
Chart: cm/ns
Chart: ns
Chart: ns
Chart: ns
Chart: 
Chart: ns
Chart: ns
Chart: 
Chart: 
TL distribution
Tof distribution
v distribution
cm/ns
cm/ns
cm/ns
CERN-01
BOLO-02
TORI-03
TREV-01
TRAP-01
Chart: 
cm/ns

## Slide 14
 | CALC |  | Gauss |  | Best Fit
TELESCOPI | Vm | σ | Vm | σ | Vm
CERN-01 | 29.1 | 3.5 | 29.1 | 2.9 | 28.6
BOLO-02 | 28.6 | 3.1 | 28.5 | 2.7 | 28.1
TORI-03 | 28.9 | 3.3 | 28.6 | 2.7 | 28.4
TRAP-01 | 27.0 | 3.6 | 27.0 | 3.1 | 26.5
TREV-01 | 28.7 | 3.3 | 28.8 | 2.8 | 27.9
CATA-02 | 25.5 | 4.2 | / | / | /
CAGL-01 | 28.4 | 3.1 | / | / | /
Chart: Mean Velocity: comparison
| 1.1000000000000001 | 2.1 | 3.1 | 4.0999999999999996 | 5.0999999999999996 | 6.1 | 7.1
 | 29.1126 | 28.6083 | 28.9261 | 27.0259 | 28.7181 | 25.5 | 28.4
 | 28.6 | 28.1 | 28.4 | 26.5 | 27.9
 | 29.1 | 28.5 | 28.6 | 27 | 28.8
CATA-02
CAGL-01

## Slide 15
Conclusions
A comparison between different telescopes confirms the results presented in the previous meeting:
The width of the velocity distribution is strongly related to the width of the time of flight distribution
Track lenght-time of flight scatterplots show good correlation and best fit procedure allows obtaining muon velocity values compatible with those extracted from muon velocity distributions
Mean velocity is rather indipendent from track lenght while seems to depend from time of flight
And shows that: