## Slide 1
The New Trigger/GPS Module for the EEE Project
NIM template
Keywords:
Multigap RPC, EAS detection, Muon detections, Trigger system, Time stamping, Timing GPS

## Slide 2
Abstract
The EEE Project
The EEE Telescope
The Data Acquisition System
EEE Trigger/Gps System
    Trigger Unit
    GPS Interface
Time Resolution Measuremets
Conclusions
Sections
Detectors array inside school buildings 
synchronization

## Slide 3
Abstract
The EEE Project
The EEE Telescope
The Data Acquisition System
EEE Trigger/Gps System
    Trigger Unit
    GPS Interface
Time Resolution Measuremets
Conclusions
Sections

## Slide 4
Abstract
The EEE Project
The EEE Telescope
The Data Acquisition System
EEE Trigger/Gps System
    Trigger Unit
    GPS Interface
Time Resolution Measuremets
Conclusions
Sections

## Slide 5
Abstract
The EEE Project
The EEE Telescope
The Data Acquisition System
EEE Trigger/Gps System
    Trigger Unit
    GPS Interface
Time Resolution Measuremets
Conclusions
Sections

## Slide 6
Abstract
The EEE Project
The EEE Telescope
The Data Acquisition System
EEE Trigger/Gps System
    Trigger Unit
    GPS Interface
Time Resolution Measuremets
Conclusions
Sections
TRIPLE
3 DOUBLE
3 SINGLE
6 Fea signals

## Slide 7
Abstract
The EEE Project
The EEE Telescope
The Data Acquisition System
EEE Trigger/Gps System
    Trigger Unit
    GPS Interface
Time Resolution Measuremets
Conclusions
Sections
- Over-determinated clock mode

## Slide 8: Time Resolution measurements
σ1PPS, time resolution for 1PPS
The difference between the signals from the reference module 1PPSref and from the other modules 1PPSN. was measured with an oscilloscope.
σΔT PPS2 = σPPS (ref)2 + σPPS N. 2 σPPS =
Time Stamp jitter Δt measurements beetwen 2 different boards with the aim of evaluate the 1PPS resolution σPPS
entries
σ ΔT PPS

## Slide 9
The couple of boards are supply in the same VME crate
The couple of antenna are mounted on the roof above our laboratory, at a distant of 40 cm. It is placed far from walls to avoid any GNSS signal reflections
16 board tested
ΔT = tPPS1 – tPPS2
entries
Gps Antenna 1
Gps Antenna 2
σPPS
Set-up
Notes: (vcable =0,66c  Δt = 15.9 ns )

## Slide 10
The difference between the signals from the reference module 1PPSref and from the other modules 1PPSN. was measured with an oscilloscope.
board SN005 – board SN007
σ1PPS =
Δ TPPS

## Slide 11
board SN2005 – board SN2007
The Profile over the time of the distribution Δ TPPS between the signals from the reference module 1PPSref and from the other modules 1PPSN.
Bin value = 10 min.
… to show PPS signals stability

## Slide 12
Mean 1PPS difference Δ1PPS distribution for all the module tested
Time resolution σ1PPS distribution for all the module tested
Time resolution measurements for the 1PPS exibit adequate stability in time ().
The mean distribution of μ Δ1PPS shows variability with a sigma of 12 ns.
(the Trimble GPS Engine timestamp accuracy is 15 ns accord the data sheet).
<σPPS > =
16 modules tested
<μPPS > =

## Slide 13: Conclusions
The new version of EEE Trigger-GPS board
Performances are consistent with the experimental requests and specifications

## Slide 14
board SN2005 – board SN2008
board SN2005 – board SN2002

## Slide 15
Abstract
The EEE Project
The EEE Telescope
The Data Acquisition System
EEE Trigger/Gps System
    Trigger Unit
    GPS Interface
Time Resolution Measuremets
Conclusions
Sections

## Slide 16
Abstract
The EEE Project
The EEE Telescope
The Data Acquisition System
EEE Trigger/Gps System
    Trigger Unit
    GPS Interface
Time Resolution Measuremets
Conclusions
Sections

## Slide 17: Spare slides
There is a cables length difference Spectrum analyzer  Δt = 14.7 ns

## Slide 18
Signal drift in time: VME crate was turned off for a few minutes (1-2 minutes), after 14000 s, and after 80000 s.

## Slide 19
When the board power supply is turned off obviusly there is a reset of the GPS satellite costellation.
For each interval (first 1800 s are not plotted because the GPS engine needs 20 minutes at least for syncronization and for building its GPS constellation) we observe a different gaussian distribution, obtained from the same modules couples, with a different Δt 1PPS mean value
Larger variability for the average distribution Δ1PPS
It is probably due to the differece in the satellite constellation built by the GPS engine
It is probably not due to any caracteristic of the board itself.

## Slide 20
Clock Difference form the 1PPS
The GPS unit feeds both the TDCs with its clock disciplinated with the 1PPS to synchronize the TDCs internal counters
Module SN005
Δt clock = 6.67 ns
σ clock = 46 ps

## Slide 22
V.1
V.2